## Sheet1
Component	value (percent, k=1)	reference	L and E correlated	comment	nearby pixels in single spectrum correlated	comment
lamp	certificate / 2	NMI	x	when using the same lamp	x
lamp_age	0.6*h/(50*sqrt(3))	TR5	x	assuming systematic trend with age and both calibrations are done at the same time with the same lamp	x
lamp_power	u_current * 38 / wl	TR5			x
lamp_align	0.1	TR5			x
lamp_interp	0	contained in u_lamp			x
panel	certificate / 2	NMI			x
panel_align	0.1	TR5			x
panel_interp	0.1	TR5			x
wl	0.7 (3.3) nm	d_source/d_wl/sqrt(3)			x
lab_stray	0.1	empirical			x
panel_backrefl	0.1	empirical			x
distance	0.08(+0.4*0.8 for E)	TR5			x
alignment	0.1	TR5			x
temperature	0.3	guestimated			x
nonlinearity	wtd.p95 / 2	empirical			x
stray	250-270 nm (0 for swir)	empirical	x	probably strongly correlated because L and E calibrations are done with spectrally rather similar sources	x
type A	stdev / sqrt(N)	empirical

For outdoor L and E measurement the calibration uncertainty is always systematic since calibration is the same for all measurements.
It doesn’t decrease with temporal averaging
typeA component decreases with spectral averaging (pixel binning)